## Slide 1: Lecture 29
Example Problem - (VCR) Cycle

## Slide 2: Example
Given: A vapor compression refrigeration cycle is operating with a saturated evaporating temperature of -20°F and a saturated condensing temperature of 80°F. The refrigerant, R22, leaves the condenser as a saturated liquid and enters the compressor with 5 degrees of superheat. The pressure drops through the evaporator and condenser can be considered negligible. The compressor has an isentropic efficiency of 85%. The cycle has a capacity of 15 tons. (~Cooling for 15,000-20,000 sqft space)
Find: (a) the mass flow rate of the R22 (lbm/hr)
(b) the power requirement of the compressor (hp)
(c) the coefficient of performance of the cycle

## Slide 3: Example

## Slide 4: Example

## Slide 5: Example
Strategy: Build the property table then do the thermodynamics!
The high and low pressures in the cycle can be found since the saturation temperatures are given.
The pressures at all four states are known!

## Slide 6: Example

## Slide 7: Example
The property table is complete!

## Slide 8: Example
EES Solution (Key Variables)
Comparison (same units) …